## Current
BGIX | Balancing Gas Information Exchange
Temporary ROIL Multiplier increases
Refer sections 4.4, 12.18 of the MPOC
Period (start) | Period (end) | Welded Point(s) | Value | Reason
2026-08-07 | 2026-08-08 | Tikorangi 3 | 1.1 | Support for data issues
2026-09-02 | 2026-09-03 | Huntly Power Station | 1.5 | Following request from shipper due to plant outage on GTC system
2026-09-02 | 2026-09-03 | Frankley Road | 5.5 | Following request from shipper due to plant outage on GTC system
2026-08-21 | 2026-08-22 | Kowhai Mixing Station | 2 | Support for operational issues
2026-08-03 | 2026-08-04 | Tikorangi 3 | 1.5 | Support for operational issues
2026-07-31 | 2026-08-01 | Turangi Mixing Station | 1.5 | Support for operational issues
2026-07-25 | 2026-07-26 | Ngatimaru Road (Delivery) | 1.1 | Support for operational issues
2026-07-17 | 2026-07-18 | Ngatimaru Road (Delivery) | 1.1 | Support for operational issues
2026-07-13 | 2026-07-14 | Pirongia | 1.5 | Support following administration issues
2026-07-12 | 2026-07-13 | Pirongia | 1.6 | Support following administration issues
2026-07-03 | 2026-07-04 | Kowhai Mixing Station | 2.7 | Support for operational issues
2026-07-03 | 2026-07-04 | Ngatimaru Road (Delivery) | 1.7 | Support for operational issues
2026-07-02 | 2026-07-03 | Ngatimaru Road (Receipt) | 3 | Support for operational issues
2026-07-01 | 2026-07-02 | Tikorangi 3 | 2 | Support for operational issues
2026-07-01 | 2026-07-02 | Ngatimaru Road (Receipt) | 4.5 | Support for operational issues
2026-06-29 | 2026-06-30 | Ngatimaru Road (Receipt) | 2.5 | Support for operational issues
2026-06-29 | 2026-06-30 | Ngatimaru Road (Delivery) | 6.5 | Support for operational issues
2026-06-29 | 2026-06-30 | Faull Road | 1.3 | Support for operational issues
2026-06-28 | 2026-06-29 | Faull Road | 1.5 | Support for operational issues
2026-06-06 | 2026-06-07 | Frankley Road | 1.2 | Support for operational issues
2026-06-03 | 2026-06-04 | Frankley Road | 3.8 | Following request from shipper due to plant outage on GTC system
2026-05-24 | 2026-05-25 | Turangi Mixing Station | 2.8 | Support for operational issues
2026-05-24 | 2026-05-25 | Kowhai Mixing Station | 1.3 | Support for operational issues
2026-05-21 | 2026-05-22 | Frankley Road | 10 | Following request from shipper due to nomination issue on GTC system
2026-05-18 | 2026-05-19 | Tikorangi 3 | 1.4 | Support following administration issues
2026-05-11 | 2026-05-12 | Ngatimaru Road (Receipt) | 2 | Support for works not carried out
2026-05-09 | 2026-05-12 | Huntly Power Station | 10 | Following request from shipper due to plant outage on GTC system
2026-05-09 | 2026-05-12 | Frankley Road | 10 | Following request from shipper due to plant outage on GTC system
2026-05-07 | 2026-05-08 | Tikorangi 1 | 1.7 | Support following administration issues
2026-05-07 | 2026-05-08 | Tikorangi 3 | 2.4 | Support following administration issues
2026-05-07 | 2026-05-08 | Frankley Road | 3.2 | Support following administration issues
2026-05-03 | 2026-05-04 | Ngatimaru Road (Receipt) | 3.5 | Support with operational issues
2026-05-03 | 2026-05-04 | Faull Road | 2.1 | Support with operational issues
2026-05-02 | 2026-05-03 | Ngatimaru Road (Receipt) | 3 | Support following production station restart
2026-05-30 | 2026-05-01 | Faull Road | 3 | Support with operational issues
2026-04-27 | 2026-04-28 | Oaonui | 1.5 | Due to administration issue
2026-04-27 | 2026-04-28 | Ngatimaru Road (Receipt) | 3.5 | Support following production station trip
2026-04-24 | 2026-04-25 | Oaonui | 1.8 | Support for operational issues
2026-04-23 | 2026-04-24 | Kowhai Mixing Station | 1.4 | Support for operational issues
2026-04-23 | 2026-04-24 | Turangi Mixing Station | 1.5 | Support for operational issues
2026-04-22 | 2026-04-23 | Oaonui | 4 | Support for operational issues
2026-04-22 | 2026-04-23 | Faull Road | 1.1 | Support for operational issues
2026-04-14 | 2026-04-15 | Faull Road | 1.5 | Support for operational issues
2026-04-06 | 2026-04-07 | Oaonui | 1.5 | Support for operational issues
2026-04-05 | 2026-04-06 | Ngatimaru Road (Delivery) | 2 | Support for operational issues
2026-04-05 | 2026-04-06 | Huntly Power Station | 3.5 | Support for administration issues
2026-04-04 | 2026-04-05 | Huntly Power Station | 5.5 | Support for administration issues
2026-04-03 | 2026-04-04 | Huntly Power Station | 7 | Following request from shipper due to operational issues on GTC system
2026-04-03 | 2026-04-04 | Frankley Road | 10 | Following request from shipper due to operational issues on GTC system
2026-04-01 | 2026-04-02 | Turangi Mixing Station | 1.5 | Support for operational issues
2026-03-31 | 2026-04-01 | Oaonui | 3 | Support for operational issues
2026-03-24 | 2026-03-25 | Tikorangi 1 | 1.3 | Support for operational issues
2026-03-18 | 2026-03-19 | Kowhai Mixing Station | 1.5 | Support for operational issues
2026-03-18 | 2026-03-19 | Turangi Mixing Station | 1.5 | Support for operational issues
2026-03-18 | 2026-03-19 | Tikorangi 3 | 8 | Following request from shipper due to operational issues on GTC system
2026-03-15 | 2026-03-18 | Tikorangi 3 | 3 | Following request from shipper due to operational issues on GTC system
2026-03-13 | 2026-03-14 | Tikorangi 3 | 8 | Following request from shipper due to operational issues on GTC system
2026-03-12 | 2026-03-13 | Ngatimaru Road (Delivery) | 2 | Support for metering data issues
2026-03-08 | 2026-03-09 | Turangi Mixing Station | 5 | Support for nomination issues
2026-03-03 | 2026-03-04 | Ngatimaru Road (Delivery) | 1.1 | Support for administration issues
2026-02-28 | 2026-03-01 | Faull Road | 1.8 | Support for operational issues
2026-02-23 | 2026-02-24 | Oaonui | 1.7 | Support for administration issues
2026-02-23 | 2026-02-24 | Faull Road | 1.7 | Support for operational issues
2026-02-22 | 2026-02-23 | Faull Road | 1.4 | Support for operational issues
2026-02-10 | 2026-02-11 | Frankley Road | 3 | Following request from shipper due to operational issues on GTC system
2026-02-10 | 2026-02-11 | Ngatimaru Road (Delivery) | 3 | Following request from shipper due to operational issues on GTC system
2026-02-10 | 2026-02-11 | Huntly Power Station | 2 | Following request from shipper due to operational issues on GTC system
2026-02-05 | 2026-02-06 | Oaonui | 2 | Support for operational issues
2026-02-04 | 2026-02-05 | Ngatimaru Road (Receipt) | 2 | Support for operational issues
2026-02-04 | 2026-02-05 | Oaonui | 2 | Support for operational issues
2026-02-03 | 2026-02-04 | Tikorangi 3 | 2 | Support for operational issues
2026-02-03 | 2026-02-04 | Oaonui | 2 | Support for operational issues
2026-02-01 | 2026-02-02 | Mokau CS | 1.1 | Support for ROI change after metering correction
2026-01-26 | 2026-01-27 | Faull Road | 1.1 | Support for ROI change after metering correction
2026-01-20 | 2026-01-21 | Oaonui | 1.5 | Support for operational issues
2026-01-18 | 2026-01-19 | Turangi Mixing Station | 1.5 | Support for maintenance
2026-01-18 | 2026-01-19 | Kowhai Mixing Station | 2 | Support for maintenance
2026-01-17 | 2026-01-18 | Turangi Mixing Station | 2.5 | Support for maintenance
2026-01-17 | 2026-01-18 | Kowhai Mixing Station | 2.5 | Support for maintenance
2026-01-16 | 2026-01-17 | Turangi Mixing Station | 1.5 | Support for maintenance
2026-01-16 | 2026-01-17 | Kowhai Mixing Station | 1.5 | Support for maintenance
2026-01-15 | 2026-01-16 | Frankley Road | 5.3 | Support following production station trip
2026-01-15 | 2026-01-16 | Huntly Power Station | 1.1 | Support following production station trip
2026-01-05 | 2026-01-06 | Tikorangi 3 | 2.5 | Support for operational issues following production station trip
2026-01-02 | 2026-01-03 | Frankley Road | 14 | Support for administration issues
2026-01-02 | 2026-01-03 | Tikorangi 3 | 13 | Support for administration issues
2026-01-02 | 2026-01-03 | Kowhai Mixing Station | 3.5 | Support for administration issues
2025-12-19 | 2025-12-20 | Turangi Mixing Station | 2 | Support for operational issues
2025-12-19 | 2025-12-20 | Kowhai Mixing Station | 2.5 | Support for operational issues
2025-12-16 | 2025-12-16 | Faull Road | 1.1 | Support for operational issues
2025-12-08 | 2025-12-09 | Ngatimaru Road (Receipt) | 4 | Support for operational issues
2025-12-05 | 2025-12-06 | Tikorangi 1 | 1.1 | Support for operational issues
2025-11-24 | 2025-11-25 | Faull Road | 1.5 | Support for operational issues
2025-11-23 | 2025-11-24 | Oaonui | 1.5 | Support for operational issues
2025-11-21 | 2025-11-22 | Faull Road | 1.5 | Support for operational issues
2025-11-14 | 2025-11-15 | Faull Road | 1.5 | Support for operational issues
2025-11-13 | 2025-11-14 | Oaonui | 3.5 | Support for plant maintenance
2025-11-12 | 2025-11-13 | Faull Road | 2 | Support for operational issues
2025-11-12 | 2025-11-13 | Mangorei | 1.5 | Administration error
11/11/20025 | 2025-11-12 | Pokuru | 5 | Support for data issues
2025-11-11 | 2025-11-12 | Frankley Road | 5 | Support for data issues
2025-11-08 | 2025-11-09 | Pokuru | 1.9 | Support for data issues
2025-11-08 | 2025-11-09 | Rotowaro | 1.8 | Support for data issues
2025-11-08 | 2025-11-09 | Tik 3 Delivery | 1.2 | Support for administration issues
2025-11-07 | 2025-11-08 | Rotowaro | 6 | Support for data issues
2025-11-07 | 2025-11-08 | Pokuru | 2.6 | Support for data issues
2025-11-02 | 2025-11-03 | Frankley Road | 3 | Support for administration issues
2025-11-02 | 2025-11-03 | EMS Tradepoint | 1.1 | Support for administration issues
2025-10-22 | 2025-10-23 | Ngatimaru Road (Delivery) | 1.1 | Support for operational issues
2025-09-25 | 2025-09-26 | Turangi Mixing Station | 1.6 | Support for data issues
2025-09-25 | 2025-09-26 | Frankley Road | 1.6 | Support for data issues
2025-09-25 | 2025-09-26 | Rotowaro | 2.5 | Support for data issues
2025-09-25 | 2025-09-26 | Kowhai Mixing Station | 1.5 | Support for data issues
2025-09-24 | 2025-09-25 | Rotowaro | 2.3 | Support for data issues
2025-09-24 | 2025-09-25 | Pokuru | 5.3 | Support for data issues
2025-09-24 | 2025-09-25 | Huntly Power Station | 1.3 | Support for data issues
2025-09-24 | 2025-09-25 | Oaonui | 1.3 | Support for data issues
2025-09-23 | 2025-09-24 | Ngatimaru Road (Delivery) | 1.5 | Support for data issues
2025-09-23 | 2025-09-24 | Faull Road | 1.5 | Support for data issues
2025-09-23 | 2025-09-24 | Oaonui | 1.1 | Support for data issues
2025-09-23 | 2025-09-24 | Frankley Road | 1.5 | Support for data issues
2025-09-23 | 2025-09-24 | Pokuru | 2.5 | Support for data issues
2025-09-22 | 2025-09-23 | Rotowaro | 1.5 | Support for data issues
2025-09-22 | 2025-09-23 | Pokuru | 2.4 | Support for data issues
2025-09-18 | 2025-09-19 | Tikorangi 3 | 4 | Support for operational issues
2025-09-17 | 2025-09-18 | Frankley Road | 3 | Support administration issues
2025-09-10 | 2025-09-14 | Huntly Power Station | 3 | Support for ROI change after metering correction
2025-09-13 | 2025-09-14 | Oaonui | 1.2 | Support for operational issues due to pipeline pressure
2025-09-13 | 2025-09-14 | Frankley Road | 1.9 | Following request from shipper due to operational issues on GTC system
2025-09-13 | 2025-09-14 | Oaonui | 1.2 | Support for operational issues due to pipeline pressure
2025-09-08 | 2025-09-09 | Ngatimaru Road (Delivery) | 1.5 | Support for operational issues following production station trip
2025-09-08 | 2025-09-09 | Oaonui | 5 | Support for operational issues following production station trip
2025-09-07 | 2025-09-08 | Oaonui | 2 | Support for operational issues following gas spec issues
2025-09-03 | 2025-09-04 | Pirongia | 1.1 | Support for administration issues
2025-09-03 | 2025-09-04 | Frankley Road | 2 | Following request from shipper due to plant outage on GTC system
2025-09-03 | 2025-09-04 | Tikorangi 3 | 5 | Support for new well starting
2025-07-25 | 2025-07-26 | Tikorangi 3 | 5 | Support for operational issues
2025-07-24 | 2025-07-25 | Tikorangi 3 | 1.1 | Support for operational issues
2025-07-21 | 2025-07-22 | Tikorangi 3 | 3 | Support for operational issues
2025-07-14 | 2025-07-15 | Faull Road | 1.6 | Support for operational issues following production station trip
2025-07-12 | 2025-07-13 | Mokau CS | 1.1 | Administration error
2025-07-11 | 2025-07-12 | Ngatimaru Road (Receipt) | 7 | Support for operational issues
2025-07-11 | 2025-07-12 | Ngatimaru Road (Delivery) | 1.2 | Support for operational issues
2025-07-11 | 2025-07-12 | Tikorangi 3 | 3 | Support for operational issues
2025-06-27 | 2025-06-28 | Ngatimaru Road (Delivery) | 1.1 | Support for operational issues
2025-06-10 | 2025-06-11 | Oaonui | 3.5 | Support for operational issues
2025-06-10 | 2025-06-11 | Ngatimaru Road (Receipt) | 1.4 | Support for operational issues
2025-06-09 | 2025-06-10 | Kowhai Mixing Station | 3 | Support for administration issues
2025-06-09 | 2025-06-10 | Turangi Mixing Station | 3.1 | Support for administration issues
2025-06-09 | 2025-06-10 | Oaonui | 2 | Support for administration issues
2025-05-28 | 2025-05-29 | Ngatimaru Road (Receipt) | 1.5 | Support for operational issues
2025-05-25 | 2025-05-26 | Oaonui | 2 | Support for testing of offshore well
2025-05-23 | 2025-05-24 | Oaonui | 1.1 | Support for operational issues following production station blip
2025-05-17 | 2025-05-18 | Frankley Road | 5 | Following request from shipper due to plant outage on GTC system
2025-05-14 | 2025-05-15 | Oaonui | 2.5 | Support for operational issues following production station trip
2025-05-10 | 2025-05-11 | Kowhai Mixing Station | 2 | Support for operational issues
2025-05-10 | 2025-05-11 | Turangi Mixing Station | 2.1 | Support for operational issues
2025-05-07 | 2025-05-08 | Oaonui | 2
2025-04-30 | 2025-05-01 | Oaonui | 1.52 | Support for operational issues
2025-04-02 | 2025-04-03 | Oaonui | 2 | Support for operational issues following planned work not going ahead
2025-04-02 | 2025-04-03 | Tikorangi 3 | 2 | Following request from shipper due to plant outage on GTC system
2025-04-01 | 2025-04-02 | Tikorangi 3 | 5.5 | Following request from shipper due to plant outage on GTC system
2025-03-31 | 2025-04-01 | Tikorangi 3 | 5.5 | Following request from shipper due to plant outage on GTC system
2025-03-30 | 2025-03-31 | Tikorangi 3 | 10 | Following request from shipper due to plant outage on GTC system
2025-03-30 | 2025-03-31 | Oaonui | 1.5 | Support administration issues
2025-03-30 | 2025-03-31 | Mangorei | 1.5 | Support for operational issues
2025-03-06 | 2025-03-07 | Ngatimaru Road (Delivery) | 1.2 | Support for operational issues
2025-03-06 | 2025-03-07 | Faull Road | 1.2 | Support for operational issues
2025-03-02 | 2025-03-03 | Mangorei | 2 | Unexpected shut in
2025-03-01 | 2025-03-02 | Turangi Mixing Station | 5 | Support works
2025-03-01 | 2025-03-02 | Kowhai Mixing Station | 5 | Support works
2025-02-24 | 2025-02-25 | Oaonui | 4 | Support for operational issues following loss of power
2025-02-23 | 2025-02-24 | Tikorangi 3 | 3 | Support for operational issues following production station trip
2025-02-20 | 2025-02-21 | Kowhai Mixing Station | 1.2 | Support administration issues
2025-01-26 | 2025-01-27 | Oaonui | 3 | Support for operational issues following production station trip
2025-01-26 | 2025-01-27 | Ngatimaru Road (Receipt) | 2.5 | Support for operational issues following production station trip
2025-01-26 | 2025-01-27 | Ngatimaru Road (Delivery) | 2 | Support for operational issues following production station trip
2025-01-26 | 2025-01-27 | Faull Road | 2 | Support for operational issues following production station trip
2025-01-23 | 2025-01-24 | Ngatimaru Road (Receipt) | 2.5 | Support administration issues
2025-01-09 | 2025-01-10 | Oaonui | 2 | Support for operational issues
2025-01-06 | 2025-01-07 | Ngatimaru Road (Delivery) | 2 | Support for operational issues
2024-12-16 | 2024-12-17 | Tikorangi 3 | 1.5 | Support for operational issues
2024-12-12 | 2024-12-13 | Huntly Power Station | 2 | Following request from shipper due to plant outage on GTC system
2024-12-09 | 2024-12-10 | Oaonui | 2.5 | Support for operational issues
2024-12-09 | 2024-12-10 | Tikorangi 3 | 1.1 | Support for operational issues
2024-11-18 | 2024-11-19 | Frankley Road | 4 | Support for operational issues from a shipper
2024-11-18 | 2024-11-19 | Huntly Power Station | 4 | Support for operational issues from a shipper
2024-11-04 | 2024-11-05 | Oaonui | 1.5 | Support for ROI change after metering correction
2024-10-26 | 2024-11-02 | Tikorangi 3 | 10 | Following request from shipper due to plant outage on GTC system
2024-10-22 | 2024-10-23 | Oaonui | 3 | Support for upcoming outage

## Gas Year 2016
BGIX | Balancing Gas Information Exchange
Temporary ROIL Multiplier increases
Refer sections 4.4, 12.18 of the MPOC
Period (start) | Period (end) | Welded Point(s) | Value | Reason
2016-09-18 | 2016-09-18 | Ngatimaru Rd (Receipt) | 5 | Support for planned plant outage
2016-09-15 | 2016-09-15 | Oaonui | 7 | Support for planned plant outage
2016-09-01 | 2016-09-01 | Frankley Road | 8.306 | Support for Pigging.
2016-09-01 | 2016-09-01 | Rotowaro | 8.306 | Support for Pigging.
2016-08-31 | 2016-08-31 | Frankley Road | 7.035 | Support for Pigging.
2016-08-31 | 2016-08-31 | Rotowaro | 7.035 | Support for Pigging.
2016-08-05 | 2016-08-06 | Tikorangi #3 (Receipt) | 3 | Support for restoration of conditions after station trip
2016-08-05 | 2016-08-06 | Tikorangi #2 | 2.3 | Support for restoration of conditions after station trip
2016-07-27 | 2016-07-27 | Ngatimaru Rd (Receipt) | 7 | Support for planned plant outage
2016-05-26 | 2016-05-26 | Tikorangi | 5 | Support for restoration of conditions after station trip
2016-05-26 | 2016-05-26 | Tikorangi #2 | 5 | Support for restoration of conditions after station trip
2016-05-26 | 2016-05-26 | Ngatimaru Rd (Receipt) | 5 | Support for restoration of conditions after station trip
2016-05-24 | 2016-05-24 | Oaonui | 3.5 | Accommodate Oaonui support during the Critical Contingency event
2016-05-17 | 2016-05-17 | Tikorangi | 5.5 | Support for plant re-start
2016-05-17 | 2016-05-17 | Tikorangi #2 | 8 | Support for plant re-start
2016-05-17 | 2016-05-17 | Tikorangi #3 (Receipt) | 8 | Support for plant re-start
2016-05-17 | 2016-05-17 | Ngatimaru Rd (Receipt) | 12 | Support for plant re-start
2016-05-07 | 2016-05-07 | Tikorangi #2 | 2.6 | Support for plant re-start
2016-04-27 | 2016-04-27 | Tikorangi #2 | 7 | Support for plant re-start
2016-04-27 | 2016-04-27 | Tikorangi #3 (Receipt) | 7.7 | Support for plant re-start
2016-04-20 | 2016-04-20 | All Large Physical WP | 4 | OATIS outage affecting intra-day 4 cycle
2016-04-10 | 2016-04-10 | Huntly Power Station | 3 | OATIS outage affecting intra-day cycles
2016-04-10 | 2016-04-10 | Turangi Mixing Station | 3 | OATIS outage affecting intra-day cycles
2016-04-10 | 2016-04-10 | Tikorangi #3 (Receipt) | 4 | OATIS outage affecting intra-day cycles
2016-04-10 | 2016-04-10 | Frankley Road | 9 | OATIS outage affecting intra-day cycles
2016-04-10 | 2016-04-10 | Rotowaro | 4 | OATIS outage affecting intra-day cycles
2016-04-05 | 2016-04-05 | Ngatimaru Road (Receipt) | 5.2 | Support for restoration of conditions after station trip
2016-03-20 | 2016-03-20 | Oaonui | 13.5 | Support for planned Pohokura PPB re-start
2016-03-20 | 2016-03-20 | Tikorangi #2 | 25 | Support for planned Pohokura PPB re-start
2016-03-19 | 2016-03-19 | Ngatimaru Road (Receipt) | 24 | Support for planned Pohokura PPB re-start
2016-03-19 | 2016-03-19 | Oaonui | 21 | Support for planned Pohokura PPB re-start
2016-03-19 | 2016-03-19 | Tikorangi #2 | 4.5 | Support for planned Pohokura PPB re-start
2016-03-10 | 2016-03-19 | Ngatimaru Road (Receipt) | 4 | Support for planned Depressurisation/Repressurisation of pipeline
2016-03-09 | 2016-03-10 | Ngatimaru Road (Delivery) | 23 | Support for planned Depressurisation/Repressurisation of pipeline
2016-03-09 | 2016-03-10 | Faull Road | 23 | Support for planned Depressurisation/Repressurisation of pipeline
2016-03-04 | 2016-03-09 | Ngatimaru Road (Receipt) | 10 | Support for planned Depressurisation/Repressurisation of pipeline
2016-03-03 | 2016-03-03 | Tikorangi Mixing Station | 9 | Support for restoration of conditions after station trip
2016-03-03 | 2016-03-03 | Tikorangi #2 | 9 | Support for restoration of conditions after station trip
2016-02-29 | 2016-02-29 | Tikorangi Mixing Station | 5 | Support for restoration of conditions after station trip
2016-02-29 | 2016-02-29 | Tikorangi #2 | 5 | Support for restoration of conditions after station trip
2016-02-29 | 2016-02-29 | Tikorangi #3 (Receipt) | 5 | Support for restoration of conditions after station trip
2016-02-04 | 2016-02-05 | Frankley Road | 8.4 | ID4 nominations of some Shippers for 04/02/2016 were incorrect due to an OATIS system error.
2016-02-04 | 2016-02-05 | Rotowaro | 5.2 | ID4 nominations of some Shippers for 04/02/2016 were incorrect due to an OATIS system error.
2016-01-21 | 2016-01-21 | Oaonui | 11 | Oaonui production facility return to service from Force Majeure shutdown.
2016-01-21 | 2016-01-21 | Ngatimaru Road (Receipt) | 5 | Oaonui production facility return to service from Force Majeure shutdown.
2016-01-10 | 2016-01-10 | Ngatimaru Road (Receipt) | 8 | Support for planned Pohokura PPB re-start
2016-01-10 | 2016-01-10 | Tikorangi #2 | 4 | Support for planned Pohokura PPB re-start
2015-12-16 | 2015-12-16 | Tikorangi Mixing Station | 3.5 | Support for restoration of conditions after station trip
2015-12-16 | 2015-12-16 | Tikorangi #2 | 8.5 | Support for restoration of conditions after station trip
2015-12-16 | 2015-12-16 | Tikorangi #3 (Receipt) | 3.5 | Support for restoration of conditions after station trip
2015-12-16 | 2015-12-16 | Ngatimaru Road (Receipt) | 11 | Support for planned Pohokura PPB outage
2015-12-05 | 2015-12-05 | Ngatimaru Road (Receipt) | 20 | Facilitation for approved OPN
2015-11-20 | 2015-11-20 | Oaonui | 20 | Prepacking line for approved OPN on 21/11/2015
2015-10-29 | 2015-10-30 | Oaonui | 13 | Prepacking line for approved OPN on 30/10/2015
2015-10-28 | 2015-10-30 | Ngatimaru Road (Receipt) | 5 | Approved maintenance-high flow trial
2015-10-18 | 2015-10-18 | Pirongia | 2.5 | Approved maintenance-high flow trial
2015-10-17 | 2015-10-17 | Pirongia | 3 | Approved maintenance-high flow trial
2015-10-16 | 2015-10-16 | Pirongia | 3.5 | Approved maintenance-high flow trial
2015-10-15 | 2015-10-15 | Pirongia | 4 | Approved maintenance-high flow trial
2015-10-14 | 2015-10-14 | Pirongia | 4 | Incorrect OI information in OATIS from 11/09/2015
2015-10-05 | 2015-10-05 | Frankley Road | 4.5 | Misleading flow data published on BGIX; primary information source confusion

## Gas Year 2017
BGIX | Balancing Gas Information Exchange
Temporary ROIL Multiplier increases
Refer sections 4.4, 12.18 of the MPOC
Period (start) | Period (end) | Welded Point(s) | Value | Reason
2017-09-28 | 2017-09-28 | Tikorangi #2 | 4.1 | Support for restoration of conditions after station trip
2017-09-06 | 2017-09-06 | Ngatimaru Rd (Delivery) | 7 | Support for restoration of conditions after station trip
2017-08-30 | 2017-08-30 | Tikorangi #3 (Receipt) | 7.5 | Support for restoration of conditions after station trip
2017-08-16 | 2017-08-16 | Tikorangi #3 (Receipt) | 2 | Support for restoration of conditions after station trip
2017-07-20 | 2017-07-20 | Tikorangi #3 (Receipt) | 4 | Support for restoration of conditions after station trip
2017-07-20 | 2017-07-20 | Tikorangi #2 | 2 | Support for restoration of conditions after station trip
2017-06-26 | 2017-06-26 | Oaonui | 8 | Support for restoration of conditions after station trip
2017-06-25 | 2017-06-25 | Oaonui | 13.5 | Support for restoration of conditions after station trip
2017-06-19 | 2017-06-19 | Oaonui | 8.5 | Support for restoration of conditions after station trip
2017-06-19 | 2017-06-19 | Tikorangi #2 | 3.5 | Support for restoration of conditions after station trip
2017-06-01 | 2017-06-01 | Ngatimaru Rd (Receipt) | 10 | Support for restoration of conditions after station trip
2017-05-31 | 2017-05-31 | Ngatimaru Rd (Receipt) | 30 | Support for restoration of conditions after station trip
2017-05-01 | 2017-05-15 | Ngatimaru Rd (Delivery) | 4.6 | Support for planned plant outage
2017-04-18 | 2017-04-18 | Frankley Road | 3 | Incomplete data for some allocation gates behind the Welded Point.
2017-04-18 | 2017-04-18 | Rotowaro | 2 | Incomplete data for some allocation gates behind the Welded Point.
2017-04-17 | 2017-04-17 | Oaonui | 2 | Support for restoration of conditions after station trip
2017-04-02 | 2017-04-02 | Ngatimaru Rd (Receipt) | 3.5 | Support for restoration of conditions after station trip
2017-03-24 | 2017-03-24 | Frankley Road | 12.2 | Site communication lost
2017-03-19 | 2017-03-19 | Oaonui | 5 | Support for restoration of pipeline conditions.
2017-03-18 | 2017-03-18 | Oaonui | 15 | Support for restoration of pipeline conditions.
2017-03-14 | 2017-03-17 | Oaonui | 25 | Support for planned plant outage
2017-02-10 | 2017-02-10 | Oaonui | 5 | Support for restoration of conditions after station trip
2017-01-30 | 2017-01-30 | Oaonui | 23 | Support for planned plant outage
2017-01-25 | 2017-01-25 | Oaonui | 13 | Support for restoration of conditions after station trip
2017-01-02 | 2017-01-03 | Ngatimaru Rd (Receipt) | 2 | Support for restoration of pipeline conditions.
2017-01-02 | 2017-01-03 | Tikorangi #2 | 6.5 | Support for restoration of pipeline conditions.
2016-12-25 | 2016-12-25 | Tikorangi #3 (Receipt) | 3.5 | Support for restoration of conditions after station trip
2016-12-25 | 2016-12-25 | Tikorangi #2 | 2 | Support for restoration of conditions after station trip
2016-12-20 | 2016-12-20 | Oaonui | 17 | Support for restoration of pipeline conditions.
2016-12-15 | 2016-12-15 | Ngatimaru Rd (Receipt) | 6 | Support for restoration of conditions after station trip
2016-12-15 | 2016-12-15 | Tikorangi #3 (Receipt) | 2 | Support for restoration of conditions after station trip
2016-12-15 | 2016-12-15 | Tikorangi #2 | 2.5 | Support for restoration of conditions after station trip
2016-11-23 | 2016-11-23 | Frankley Road | 1.6 | Support linepack management
2016-11-23 | 2016-11-23 | Pokuru | 2 | Support linepack management
2016-11-15 | 2016-11-15 | Oaonui | 17 | Support for restoration of conditions after station trip
2016-11-01 | 2016-11-01 | Faull Road | 2 | Support for planned plant outage
2016-10-20 | 2016-10-20 | Ngatimaru Rd (Receipt) | 12 | Support for restoration of conditions after station trip
2016-10-20 | 2016-10-20 | Tikorangi #2 | 3 | Support for restoration of conditions after station trip
2016-10-15 | 2016-10-15 | Oaonui | 12.459 | Inability to Access OATIS.
2016-10-15 | 2016-10-15 | Frankley Road | 11.66 | Inability to Access OATIS.
2016-10-15 | 2016-10-15 | Rotowaro | 4.113 | Inability to Access OATIS.

## Gas Year 2018
BGIX | Balancing Gas Information Exchange
Temporary ROIL Multiplier increases
Refer sections 4.4, 12.18 of the MPOC
Period (start) | Period (end) | Welded Point(s) | Value | Reason
2018-09-06 | 2018-09-07 | Ngatimaru Rd (Receipt) | 6 | Support for plant re-start
2018-09-05 | 2018-09-06 | Ngatimaru Rd (Receipt) | 6 | Support for Pigging.
2018-09-05 | 2018-09-06 | Tikorangi 2 | 3 | Support for Pigging.
2018-07-11 | 2018-07-14 | Ngatimaru Rd (Delivery) | 3 | Support for restoration of station.
2018-07-11 | 2018-07-14 | Ngatimaru Rd (Receipt) | 3 | Support for restoration of station.
2018-06-21 | 2018-06-22 | Ngatimaru Rd (Delivery) | 6 | Support for plant re-start
2018-06-18 | 2018-06-19 | Faull Road | 3 | Support for restoration of conditions after station trip
2018-05-17 | 2018-05-18 | Tikorangi #3 (Receipt) | 2.5 | Support for restoration of conditions after station trip
2018-05-02 | 2018-05-05 | Oaonui | 10 | Support for high pressure and high linepack
2018-04-23 | 24/04/218 | Tikorangi #3 (Receipt) | 15 | Support for plant re-start
2018-04-19 | 2018-04-22 | Ngatimaru Rd (Receipt) | 3 | Support for Pigging.
2018-04-19 | 2018-04-22 | Oaonui | 3 | Support for Pigging.
2018-03-16 | 2018-03-17 | Oaonui | 10 | Planned maintenance outage
2018-03-15 | 2018-03-16 | Oaonui | 10 | Planned maintenance outage
2017-12-13 | 2017-12-13 | Tikorangi #3 (Receipt) | 4 | Support for restoration of conditions after station trip
2017-12-11 | 2017-12-11 | Tikorangi #3 (Receipt) | 5 | Support for restoration of conditions after station trip
2017-11-01 | 2017-11-01 | Oaonui | 18.5 | Support for planned plant outage
2017-10-27 | 2017-10-27 | Tikorangi #3 (Receipt) | 6 | Support for restoration of conditions after station trip
2017-10-27 | 2017-10-27 | Tikorangi #2 | 4 | Support for restoration of conditions after station trip
2017-10-22 | 2017-10-22 | Ngatimaru Rd (Receipt) | 9 | Support for restoration of conditions after station trip
2017-10-05 | 2017-10-05 | Oaonui | 21 | Support for planned plant outage

## Gar Year 2019
BGIX | Balancing Gas Information Exchange
Temporary ROIL Multiplier increases
Refer sections 4.4, 12.18 of the MPOC
Period (start) | Period (end) | Welded Point(s) | Value | Reason
2019-09-13 | 2019-09-17 | Frankley Road | 12 | Support linepack management
2019-09-09 | 2019-09-10 | Oaonui | 6 | Support for restoration of conditions after station trip
2019-08-14 | 2019-08-15 | Ngatimaru Rd (Receipt) | 7 | Support for high pressure and high linepack
2019-08-14 | 2019-08-15 | Oaonui | 2 | Support for high pressure and high linepack
2019-08-11 | 2019-08-12 | Pokuru | 4.5 | Support linepack management for lost comms
2019-08-10 | 2019-08-11 | Pokuru | 3 | Support linepack management for lost comms
2019-08-03 | 2019-08-04 | Oaonui | 5 | Support for planned plant outage
2019-08-01 | 2019-08-03 | Oaonui | 3 | Support for planned plant outage
2019-07-30 | 2019-07-31 | Oaonui | 2 | Support for planned plant outage
2019-07-19 | 2019-07-20 | Tikorangi | 4 | Support for restoration of conditions after station trip
2019-07-19 | 2019-07-21 | Oaonui | 9 | Support for restoration of conditions after station trip at Ngatimaru Rd (Receipt)
2019-07-19 | 2019-07-21 | Ngatimaru Rd (Receipt) | 9 | Support for restoration of conditions after station trip
2019-07-19 | 2019-07-20 | Tikorangi #3 (Receipt) | 8 | Support for restoration of conditions after station trip
2019-06-28 | 2019-06-29 | Tikorangi #3 (Receipt) | 3 | Support for restoration of conditions after station trip
2019-06-18 | 2019-06-19 | Tikorangi #3 (Receipt) | 3 | Support for restoration of conditions after station trip
2019-06-09 | 2019-06-10 | Ngatimaru Rd (Receipt) | 5 | Support for restoration of conditions after station trip
2019-06-07 | 2019-06-08 | Ngatimaru Rd (Receipt) | 4 | Support for restoration of conditions after station trip
2019-06-08 | 2019-06-09 | Oaonui | 5 | Support for restoration of conditions after station trip
2019-06-04 | 2019-06-05 | Ngatimaru Rd (Receipt) | 5 | Planned maintenance outage
2019-06-02 | 2019-06-04 | Pokuru | 5 | Lightening strike stopped communications NTU / metering
2019-06-01 | 2019-06-04 | Oaonui | 2 | Support for plant re-start
2019-06-01 | 2019-06-02 | Pokuru | 20 | Lightening strike stopped communications NTU / metering
2019-06-01 | 2019-06-02 | Oaonui | 2 | Support for plant re-start
2019-05-31 | 2019-06-01 | Oaonui | 0.5 | Support for plant re-start
2019-05-31 | 2019-06-01 | Pokuru | 19 | Lightening strike stopped communications NTU / metering
2019-05-31 | 2019-06-01 | Ngatimaru Rd (Receipt) | 3 | Support for plant re-start
2019-05-28 | 2019-05-29 | Tikorangi #2 | 2 | Support for planned Pohokura PPB re-start
2019-05-28 | 2019-05-31 | Ngatimaru Rd (Receipt) | 19 | Support for planned Pohokura PPB re-start
2019-05-28 | 2019-05-31 | Oaonui | 19 | Support for plant re-start
2019-05-13 | 2019-05-14 | Tikorangi #3 (Receipt) | 2.5 | Support for restoration of conditions after station trip
2019-05-07 | 2019-05-07 | Oaonui | 4 | Planned maintenance outage
2019-05-06 | 2019-05-06 | Ngatimaru Rd (Receipt) | 6 | Planned maintenance outage
2019-05-05 | 2019-05-04 | Ngatimaru Rd (Receipt) | 4 | Planned maintenance outage
2019-05-04 | 2019-05-04 | Ngatimaru Rd (Receipt) | 6 | Planned maintenance outage
2019-04-20 | 2019-04-20 | Huntly Power Station | 6 | Support for restoration of conditions after station trip
2019-04-20 | 2019-04-20 | Ngatimaru Rd (Receipt) | 6 | Support for restoration of conditions after station trip
2019-04-20 | 2019-04-20 | Oaonui | 5 | Support for restoration of conditions after station trip
2019-04-01 | 2019-04-02 | Ngatimaru Rd (Receipt) | 4 | Planned maintenance
2019-03-28 | 2019-03-30 | Oaonui | 7 | Support for restoration of conditions after station trip
2019-03-27 | 2019-03-27 | Oaonui | 15 | Planned maintenance outage
2019-03-26 | 2019-03-26 | Oaonui | 7.5 | Planned maintenance outage
2019-03-23 | 2019-03-24 | Oaonui | 5 | Planned maintenance outage
2019-03-18 | 2019-03-18 | Ngatimaru Rd (Receipt) | 4 | Support for restoration of conditions after station trip
2019-03-18 | 2019-03-22 | Oaonui | 4 | Support for restoration of conditions after station trip
2019-03-17 | 2019-03-17 | Ngatimaru Rd (Receipt) | 4 | Support for restoration of conditions after station trip
2019-03-16 | 2019-03-17 | Oaonui | 4 | Support for restoration of conditions after station trip
2019-03-16 | 2019-03-16 | Ngatimaru Rd (Receipt) | 6 | Support for restoration of conditions after station trip
2019-03-15 | 2019-03-15 | Ngatimaru Rd (Receipt) | 6 | Support for restoration of conditions after station trip
2019-03-11 | 2019-03-12 | Ngatimaru Rd (Receipt) | 10 | Support for restoration of conditions after station trip
2019-03-11 | 2019-03-12 | Oaonui | 10 | Support for restoration of conditions after station trip
2019-03-09 | 2019-03-09 | Ngatimaru Rd (Receipt) | 5 | Support for restoration of conditions after station trip
2019-03-09 | 2019-03-09 | Oaonui | 5 | Support for restoration of conditions after station trip
2019-03-08 | 2019-03-08 | Ngatimaru Rd (Receipt) | 7 | Support for restoration of conditions after station trip
2019-03-08 | 2019-03-08 | Oaonui | 7 | Support for restoration of conditions after station trip
2019-03-07 | 2019-03-07 | Oaonui | 7 | Support for restoration of conditions after station trip
2019-03-07 | 2019-03-07 | Ngatimaru Rd (Receipt) | 15 | Support for restoration of conditions after station trip
2019-03-05 | 2019-03-05 | Oaonui | 5.5 | Support for restoration of conditions after Curtialment
2019-02-28 | 2019-03-02 | Oaonui | 5.5 | Support for plant re-start
2019-02-26 | 2019-02-26 | Tikorangi #3 (Receipt) | 4 | Support for restoration of conditions after station trip
2019-02-24 | 2019-02-25 | Oaonui | 6 | Planned maintenance outage
2019-02-22 | 2019-02-22 | Ngatimaru Rd (Delivery) | 15 | Support for plant re-start
2019-02-22 | 2019-02-22 | Faull Road | 4 | Support for plant re-start
2019-02-11 | 2019-02-12 | Tikorangi #3 (Receipt) | 2.5 | Support for restoration of conditions after station trip
2018-12-31 | 2018-12-31 | Rotowaro | 3 | Incorrect OI information in OATIS due to Trade
2018-12-31 | 2018-12-31 | Pokuru | 7 | Incorrect OI information in OATIS due to Trade
2018-12-14 | 2018-12-19 | Ngatimaru Rd (Receipt) | 4 | Support for high pressure and high linepack
2018-12-14 | 2018-12-15 | Tikorangi #2 | 2 | Support for restoration of conditions after station trip
2018-12-14 | 2018-12-15 | Tikorangi #3 (Receipt) | 8 | Support for restoration of conditions after station trip
2018-12-13 | 2018-12-13 | Frankley Road | 10 | Incorrect OI information in OATIS due to Trade
2018-12-11 | 2018-12-11 | Ngatimaru Rd (Receipt) | 5 | Support for restoration of pipeline conditions.
2018-12-04 | 2018-12-10 | Ngatimaru Rd (Receipt) | 20 | Support for restoration of pipeline conditions.
2018-12-04 | 2018-12-04 | Oaonui | 5 | Support for restoration of pipeline conditions.
2018-11-28 | 2018-11-29 | Frankley Road | 5 | Non-Bussiness Day (D+1 was not run)
2018-11-28 | 2018-11-29 | Kowhai Mixing Station | 2 | Non-Bussiness Day (D+1 was not run)
2018-11-28 | 2018-11-29 | Tikorangi #3 (Receipt) | 4 | Support for restoration of conditions after station trip
2018-10-12 | 2018-10-15 | Oaonui | 10 | Support for restoration of pipeline conditions.
2018-10-09 | 2018-10-10 | Ngatimaru Rd (Receipt) | 3 | Support for restoration of pipeline conditions.

## Gas Year 2020
BGIX | Balancing Gas Information Exchange
Temporary ROIL Multiplier increases
Refer sections 4.4, 12.18 of the MPOC
Period (start) | Period (end) | Welded Point(s) | Value | Reason
2020-09-24 | 2020-09-25 | Frankley Road | 3 | Non-Bussiness Day (D+1 was not run)
2020-09-24 | 2020-09-25 | Rotowaro | 5.5 | Non-Bussiness Day (D+1 was not run)
2020-09-21 | 2020-09-22 | Oaonui | 3.5 | Support for restoration of conditions after station trip
2020-09-09 | 2020-09-10 | Oaonui | 3 | Support for Well start up
2020-09-08 | 2020-09-09 | Oaonui | 4.5 | Support for Well start up
2020-09-04 | 2020-09-05 | Tikorangi # 3 (Receipt) | 5.5 | Support for restoration of conditions after station trip
2020-09-04 | 2020-09-05 | Tikorangi | 7.3 | Support for restoration of conditions after station trip
2020-09-01 | 2020-09-02 | Ngatimaru Rd (Receipt) | 2.5 | Support for planned plant outage
2020-08-31 | 2020-09-01 | Tikorangi # 2 | 2.5 | Incorrect UV OI information in OATIS from 28/08/2020
2020-08-19 | 2020-08-20 | Ngatimaru Rd (Receipt) | 5 | Support for planned Pohokura PPB re-start
2020-08-02 | 2020-08-04 | Oaonui | 17.5 | Support for restoration of conditions after station trip
2020-06-29 | 2020-06-30 | Ngatimaru Rd (Receipt) | 2 | Support for restoration of conditions after station trip
2020-05-27 | 2020-05-28 | Tikorangi # 2 | 2 | Support for restoration of conditions after station trip
2020-05-27 | 2020-05-28 | Ngatimaru Rd (Receipt) | 7 | Support for restoration of conditions after station trip
2020-05-13 | 2020-05-14 | Tikorangi # 3 (Receipt) | 2 | Support for restoration of conditions after station trip
2020-04-15 | 2020-04-16 | Tikorangi # 3 (Receipt) | 3 | Support for restoration of conditions after station trip
2020-04-02 | 2020-04-03 | Frankley Road | 3 | Support for restoration of conditions after station trip
2020-03-29 | 2020-03-30 | Oaonui | 2.5 | Support for restoration of conditions after station trip
2020-03-24 | 2020-03-25 | Oaonui | 1.9 | Support for planned Pohokura PPB re-start
2020-03-24 | 2020-03-25 | Ngatimaru Rd (Delivery) | 2.7 | Support for planned Pohokura PPB re-start
2020-03-24 | 2020-03-25 | Ngatimaru Rd (Receipt) | 6.5 | Support for planned Pohokura PPB re-start
2020-03-16 | 2020-03-17 | Turangi Mixing Station | 12 | Support for restoration of conditions after station trip
2020-03-15 | 2020-03-16 | Turangi Mixing Station | 23 | Support for restoration of conditions after station trip
2020-03-14 | 2020-03-15 | Turangi Mixing Station | 13 | Support for restoration of conditions after station trip
2020-03-13 | 2020-03-19 | Mangorei | 3 | Support for restoration of conditions after station trip
2020-02-28 | 2020-02-29 | Tikorangi # 3 (Receipt) | 2 | Support for restoration of conditions after station trip
2020-02-07 | 2020-02-08 | Tikorangi # 3 (Receipt) | 7 | Support for Incorrect nomination error
2020-02-07 | 2020-02-08 | Tikorangi # 2 | 10 | Support for Incorrect nomination error
2020-02-04 | 2020-02-05 | Turangi Mixing Station | 3.5 | Support for restoration of conditions after station trip
2020-02-04 | 2020-02-06 | Oaonui | 6 | Support for Well start up
2020-01-18 | 2020-01-19 | Tikorangi # 2 | 5 | Support for restoration of conditions after station trip
2020-01-18 | 2020-01-19 | Oaonui | 3 | Support for restoration of conditions after station trip
2020-01-18 | 2020-01-19 | Ngatimaru Rd (Receipt) | 10 | Support for restoration of conditions after station trip
2019-12-15 | 2019-12-16 | Ngatimaru Rd (Receipt) | 4 | Incorrect OI information in OATIS from 15/12/2019
2019-12-03 | 2019-12-04 | Tikorangi # 3 (Receipt) | 5.5 | Support for restoration of conditions after station trip
2019-11-15 | 2019-11-16 | Pokuru | 4 | Incorrect OI information in OATIS due to Trade
2019-11-15 | 2019-11-16 | Tikorangi # 3 (Receipt) | 23 | Support for restoration of conditions after station trip
2019-10-30 | 2019-10-31 | Tikorangi # 2 | 6 | Support for Incorrect nomination error
2019-10-01 | 2019-10-02 | Frankley Road | 7 | Support for restoration of pipeline conditions.
2019-10-01 | 2019-10-02 | Tikorangi # 3 (Receipt) | 4 | Support for restoration of conditions after station trip

## Gas Year 2021
BGIX | Balancing Gas Information Exchange
Temporary ROIL Multiplier increases
Refer sections 4.4, 12.18 of the MPOC
Period (start) | Period (end) | Welded Point(s) | Value | Reason
2021-09-19 | 2021-09-21 | Ngatimaru Rd (Receipt) | 4 | Support well startup timing after maintenance
2021-09-14 | 2021-09-15 | Oaonui | 1.5 | Support operational issues after site trip 13/09/2021
2021-09-13 | 2021-09-14 | Oaonui | 5 | Support unplanned outage 13/09/21
2021-09-13 | 2021-09-14 | Ngatimaru Rd (Delivery) | 5 | Support imbalance caused by Oaonui unplanned outage 13/09/21
2021-09-04 | 2021-09-05 | Tikorangi 3 | 10 | Support unplanned outage 04/09/21
2021-09-02 | 2021-09-03 | Ngatimaru Rd (Receipt) | 1.5 | Support well shutdown operation 02/09/21
2021-08-31 | 2021-08-31 | Oaonui | 2 | Support operational issues after heavy lift 31/08/21
2021-08-21 | 2021-08-25 | Ngatimaru Rd (Delivery) | 4 | Support plant startup on 23/08/2021
2021-08-16 | 2021-08-17 | Oaonui | 2 | Support operational issues after well shutdown 16/08/2021
2021-08-14 | 2021-08-15 | Ngatimaru Rd (Receipt) | 14 | Support operational issues 14/8/21
2021-08-14 | 2021-08-15 | Ngatimaru Rd (Delivery) | 5.5 | Support operational issues 14/8/21
2021-08-14 | 2021-08-15 | Tikorangi 2 | 5.5 | Support operational issues 14/8/21
2021-08-11 | 2021-08-12 | Oaonui | 3 | Support operational issues after station trip 11/08/2021
2021-08-02 | 2021-08-03 | Oaonui | 1.5 | Support operational issues after well start up 02/08/2021
2021-07-30 | 2021-07-31 | Oaonui | 3 | Support operational issues for well shutdown 30/7/2021
2021-07-21 | 2021-07-22 | Oaonui | 3 | Support operational issues after well start up 21/07/2021
2021-07-20 | 2021-07-20 | Oaonui | 4.5 | Support operational issues after well start up 20/7/2021
2021-07-18 | 2021-07-19 | Ngatimaru Rd (Receipt) | 2 | Support for operational issues 18/07/2021
2021-07-18 | 2021-07-19 | Huntly Power Station | 11 | Support for unit trip and startup issues 18/07/2021
2021-07-13 | 2021-07-13 | Tikorangi 3 | 2 | Support for operational issues 13/07/2021
2021-07-12 | 2021-07-13 | Oaonui | 3.5 | Support for operational issues after well startup 12/07/2021
2021-07-11 | 2021-07-12 | Oaonui | 1.1 | Support for operational issues 11/07/2021
2021-07-01 | 2021-07-02 | Oaonui | 2 | Support for operational issues after well startup 01/07/2021
2021-06-30 | 2021-07-01 | Oaonui | 2 | Support for operational issues after well startup 30/06/2021
2021-06-30 | 2021-07-03 | Bertrand Rd | 3 | Support for ROI change due to metering correction
2021-06-29 | 2021-06-30 | Oaonui | 4.1 | Support operational issues after station trip 29/06/2021
2021-06-25 | 2021-06-26 | Oaonui | 2.1 | Support operational issues after well start up 25/06/2021
2021-06-23 | 23/06/20201 | Oaonui | 2.7 | Support operational issues after well startup 23/06/2021
2021-06-22 | 2021-06-22 | Tikorangi 2 | 1.2 | Support for incorrect trade calculation
22/06/20201 | 2021-06-22 | Tikorangi 3 | 1.1 | Support for incorrect trade calculation
2021-06-22 | 2021-06-22 | Oaonui | 2.6 | Support for operational issues after well startup 21/06/2021
2021-06-18 | 2021-06-19 | Oaonui | 10 | Support for unplanned outage 18/06/2021
2021-06-15 | 2021-06-18 | Oaonui | 11 | Support for operational issue 15/06/2021
2021-06-14 | 2021-06-15 | Oaonui | 3 | Support for unplanned outage 14/06/2021
2021-06-14 | 2021-06-15 | Ngatimaru Rd (Receipt) | 1.1 | Support plant startup issue after a trip 14/06/2021
2021-06-13 | 2021-06-14 | Oaonui | 4 | Support operational issues after well startup 13/06/2021
2021-06-12 | 2021-06-13 | Oaonui | 3 | Support for high pressure & well startup issue 12/06/2021
2021-06-09 | 2021-06-10 | Tikorangi 3 | 2.5 | Support for operational issues 09/06/2021
2021-06-08 | 2021-06-09 | Ngatimaru Rd (Receipt) | 2.1 | Support to keep plant running at minimum rates
2021-06-07 | 2021-06-08 | Ngatimaru Rd (Delivery) | 5 | Support operational issues 07/06/2021
2021-05-27 | 2021-05-28 | Oaonui | 2.5 | Support for plant startup issue 27/05/2021
2021-05-22 | 2021-05-24 | Oaonui | 5 | Support operational issues after station trip 22/05/2021 and Comms outage 23/05/2021
2021-05-21 | 2021-05-22 | Oaonui | 2.8 | Support for operational issues 21/05/21
2021-05-20 | 2021-05-21 | Oaonui | 3.8 | Support operational issues after station trip 20/05/2021
2021-05-19 | 2021-05-20 | Oaonui | 7 | Support for plant startup issue 19/5/2021
2021-05-18 | 2021-05-19 | Oaonui | 1.1 | Support imbalance caused by Pohokura unplanned outage 18/5/2021
2021-05-18 | 2021-05-18 | Ngatimaru Rd (Receipt) | 5 | Support unplanned outage 18/5/2021
2021-05-17 | 2021-05-17 | Ngatimaru Rd (Receipt) | 2 | Support operational issues 17/5/21
2021-05-16 | 2021-05-16 | Tikorangi # 3 (Receipt) | 6.9 | Support for OATIS Issues 16/05/2021
2021-04-28 | 2021-04-29 | Tikorangi 1 | 5 | Support for plant outage 28/04/2021
2021-04-22 | 2021-04-22 | Ngatimaru Rd (Receipt) | 1.2 | Support planned outage 22/04/2021
2021-04-11 | 2021-04-11 | Oaonui | 3 | Support for operational issues 11/04/2021
2021-04-07 | 2021-04-08 | Oaonui | 1.2 | Support for operational issues 07/04/2021
2021-03-31 | 2021-03-31 | Tikorangi 3 | 2.5 | Support for operational issues 31/03/2021
2021-03-31 | 2021-03-31 | Oaonui | 1.5 | Support for operational issues 31/03/2021
2021-03-30 | 2021-03-30 | Tikorangi 3 | 3.5 | Support for operational issues from power outage 30/03/21
2021-03-28 | 2021-03-29 | Tikorangi 3 | 5 | Support for operational issues 28/03/2021
2021-03-26 | 2021-03-27 | Oaonui | 3 | Support for operational issues 26/03/2021
2021-03-25 | 2021-03-26 | Oaonui | 2 | Support for plant startup issue 25/03/2021
2021-03-17 | 2021-03-18 | Oaonui | 2 | Support for plant outage 17/03/2021
2021-03-16 | 2021-03-16 | Oaonui | 5 | Support for plant outage 16/03/2021
2021-03-15 | 2021-03-15 | Tikorangi 3 | 2 | Support for operational issues 15/03/2021
2021-03-15 | 2021-03-15 | Oaonui | 2 | Support for operational issues 15/03/2021
2021-03-01 | 2021-03-02 | Oaonui | 1.1 | Support for operational issues 01/03/21
2021-02-28 | 2021-02-28 | Bertrand Rd | 1.5 | Support unplanned outage 28/02/2021
2021-02-28 | 2021-02-28 | Faull Road | 9 | Support unplanned outage 28/02/2021
2021-02-28 | 2021-02-28 | Tikorangi 2 | 3 | Support unplanned outage 28/02/2021
2021-02-28 | 2021-02-28 | Ngatimaru Rd (Delivery) | 2 | Support unplanned outage 28/02/2021
2021-02-28 | 2021-02-28 | Ngatimaru Rd (Receipt) | 12.5 | Support unplanned outage 28/02/2021
2021-02-26 | 2021-02-26 | Oaonui | 0.6 | Support for operational issues 26/02/21
2021-02-25 | 2021-02-26 | Oaonui | 3 | Support for operational issues 25/02/21
2021-02-17 | 2021-02-17 | Oaonui | 3 | Support operational issues 17/02/2021
2021-02-07 | 2021-02-07 | Oaonui | 2.5 | Support for operational issues 07/02/21
2021-02-04 | 2021-02-05 | Tikorangi # 3 (Receipt) | 3.3 | Support for operational issues 04/02/2021
2021-01-31 | 2021-01-31 | Oaonui | 0.5 | Support for operational issues 31/01/2021
2021-01-21 | 2021-01-22 | Oaonui | 5 | Support for operational issues 22/01/2021
2021-01-21 | 2021-01-22 | Tikorangi # 3 (Receipt) | 9 | Support for operational issues 21/01/2021
2021-01-21 | 2021-01-22 | Tikorangi | 5 | Support for operational issues 21/01/2021
2021-01-21 | 2021-01-22 | Frankley Road | 6 | Support for operational issues 21/01/2021
2021-01-21 | 2021-01-22 | Oaonui | 1.5 | Support for operational issues 21/01/2021
2021-01-17 | 2021-01-17 | Tikorangi # 3 (Receipt) | 3 | Support for operational issues 17/01/2021
2020-12-26 | 2020-12-26 | Tikorangi # 3 (Receipt) | 3 | Support for operational issues 26/12/2020
2020-12-23 | 2020-12-24 | Oaonui | 2 | Support for operational issues 23/12/2020
2020-12-23 | 2020-12-24 | Ngatimaru Rd (Delivery) | 2 | Support for Imbalance caused by Pohokura Start-up on 04/12/2020
2020-12-21 | 2020-12-21 | Tikorangi # 3 (Receipt) | 2 | Support for restoration of conditions after station trip
2020-12-07 | 2020-12-08 | Ngatimaru Rd (Receipt) | 5 | Support for outage 07/12/2020
2020-12-07 | 2020-12-08 | Oaonui | 2 | Support for outage 07/12/2020
2020-12-05 | 2020-12-06 | Ngatimaru Rd (Receipt) | 1.5 | Support operational issues 05/12/2020
2020-12-05 | 2020-12-06 | Oaonui | 1.5 | Support operational issues 05/12/2020
2020-12-04 | 2020-12-05 | Ngatimaru Rd (Receipt) | 5 | Support operational issues 04/12/2020
2020-12-03 | 2020-12-04 | Ngatimaru Rd (Receipt) | 5 | Support outage
2020-12-03 | 2020-12-04 | Oaonui | 1.5 | Support outage
2020-12-02 | 2020-12-03 | Huntly Power Station | 2 | Support for unplanned outage 02/12/2020
2020-12-02 | 2020-12-03 | Frankley Road | 4 | Support for unplanned outage 02/12/2020
2020-11-27 | 2020-11-28 | Tikorangi # 3 (Receipt) | 4 | Support for Well start up
2020-11-27 | 2020-11-28 | Oaonui | 6 | Support for restoration of conditions after station trip
2020-11-25 | 2020-11-26 | Ngatimaru Rd (Delivery) | 2.5 | Support for unplanned outage 25/11/2020
2020-11-25 | 2020-11-26 | Ngatimaru Rd (Receipt) | 2.5 | Support for unplanned outage 25/11/2020
2020-11-24 | 2020-11-25 | Ngatimaru Rd (Receipt) | 2.5 | Support for plant outage 27/11/2020
2020-11-17 | 2020-11-18 | Ngatimaru Rd (Receipt) | 4 | Support for Well start up
2020-11-13 | 2020-11-14 | Mangorei | 2 | Support to outage 13/11/2020
2020-11-13 | 2020-11-14 | Huntly Power Station | 4 | Support to outage 13/11/2020
2020-11-13 | 2020-11-14 | Ngatimaru Rd (Receipt) | 5 | Support to outage 13/11/2020
2020-11-05 | 2020-11-06 | Ngatimaru Rd (Receipt) | 3 | Support issues during well maintence
2020-11-04 | 2020-11-05 | Ngatimaru Rd (Receipt) | 3 | Support to outage 05/11/2020
2020-10-16 | 2020-10-17 | Ngatimaru Rd (Receipt) | 2.5 | Support to keep plant running at minimum rates
2020-10-16 | 2020-10-17 | Bertrand Rd | 3 | Support to keep plant running at minimum rates

## Gas Year 2022
BGIX | Balancing Gas Information Exchange
Temporary ROIL Multiplier increases
Refer sections 4.4, 12.18 of the MPOC
Period (start) | Period (end) | Welded Point(s) | Value | Reason
2022-09-28 | 2022-09-29 | Frankley Road | 4 | Following request from shipper due to operational issue on GTC system
2022-09-20 | 2022-09-21 | Oaonui | 2 | Support for issue with a well restart
2022-09-14 | 2022-09-15 | Oaonui | 1.1 | Support for issue with a well restart
2022-09-09 | 2022-09-10 | Ngatimaru Road (Receipt) | 3 | Due to well issues experienced on TX day 09/09/2022
2022-08-28 | 2022-08-29 | Frankley Road | 6 | Following request from shipper due to operational issue on GTC system
2022-08-24 | 2022-08-25 | Tikorangi 3 | 2 | Support for compressor trips
2022-08-16 | 2022-08-17 | Oaonui | 2 | Support for issue with a well restart
2022-08-09 | 2022-08-10 | Pokuru | 4 | Due to lost comms (as per notice 68506)
2022-08-09 | 2022-08-10 | Rotowaro | 10 | To support ATS (due to Pokuru lost comms)
2022-08-07 | 2022-08-08 | Huntly Power Station | 2 | Support for Incorrect nomination
2022-08-04 | 2022-08-08 | Pokuru | 6 | Due to lost comms (as per notice 68506)
2022-08-04 | 2022-08-08 | Rotowaro | 13 | To support ATS (due to Pokuru lost comms)
2022-08-03 | 2022-08-04 | Ngatimaru Rd (Delivery) | 2 | Support for change in ROI due to metering correction
2022-08-03 | 2022-08-04 | Pokuru | 19 | Due to lost comms (as per notice 68506)
2022-08-03 | 2022-08-04 | Rotowaro | 7 | To support ATS (due to Pokuru lost comms)
2022-08-03 | 2022-08-04 | Frankley Road | 3 | Following request from shipper due to operational issue on GTC system
2022-08-02 | 2022-08-03 | Frankley Road | 4 | Following request from shipper due to operational issue on GTC system
2022-08-02 | 2022-08-03 | Tikorangi 2 | 6 | Support for operational issues at different site & pigging
2022-07-25 | 2022-07-26 | Oaonui | 2.5 | Support for issue with a well restart
2022-07-21 | 2022-07-22 | Tikorangi 2 | 1.5 | Support for communication issue
2022-07-20 | 2022-07-21 | Ngatimaru Rd (Delivery) | 2 | Support for plant restart
2022-07-18 | 2022-07-19 | Ngatimaru Rd (Delivery) | 2 | Support for plant trip
2022-07-14 | 2022-07-15 | Oaonui | 2 | Support for issue with a well
2022-07-14 | 2022-07-15 | Huntly Power Station | 4 | Support for reducing peak within-day imbalance
2022-07-09 | 2022-07-10 | Ngatimaru Road (Receipt) | 2 | To support well outage delays
2022-07-08 | 2022-07-09 | Oaonui | 3 | To support well restart
2022-07-06 | 2022-06-07 | Oaonui | 1.6 | To support well start up
2022-07-05 | 2022-07-06 | Oaonui | 2 | To support upcoming well restart
2022-06-26 | 2022-06-27 | Frankley Road | 6 | Following request from shipper due to operational issue on GTC system
2022-06-22 | 2022-06-23 | Turangi Mixing Station | 1.1 | To support communication issue
2022-06-20 | 2022-06-21 | Oaonui | 2.8 | To support heavy lift at Pohokura
2022-06-20 | 2022-06-21 | Ngatimaru Road (Receipt) | 2.5 | To support heavy lift at Pohokura
2022-06-12 | 2022-06-20 | Ngatimaru Road (Receipt) | 6.5 | To support Oaonui startup
2022-06-11 | 2022-06-12 | Ngatimaru Road (Receipt) | 1.5 | To support Oaonui startup
2022-05-30 | 2022-05-31 | Turangi Mixing Station | 1.6 | Support operational issue
2022-05-19 | 2022-05-20 | Rotowaro | 9 | Northern Pressure Temporally Reduced
2022-05-13 | 2022-05-14 | Oaonui | 2 | To support operation issues
2022-05-12 | 2022-05-13 | Oaonui | 1.5 | To support operation issues
2022-05-12 | 2022-05-13 | Frankley Road | 3.5 | Following request from shipper due to operational issue on GTC system
2022-05-01 | 2022-05-02 | Oaonui | 3 | Support gas specification issue
2022-04-28 | 2022-04-29 | Oaonui | 3 | To support operational issues after plant trip
2022-04-25 | 2022-04-26 | Oaonui | 2 | Support operational issue
2022-04-22 | 2022-04-23 | Bertrand Rd | 2 | Support operational issues with power outage
2022-04-22 | 2022-04-23 | Ngatimaru Road (Receipt) | 6 | Support operational issues with power outage
2022-04-22 | 2022-04-23 | Tikorangi 3 | 5 | Support operational issues with power outage
2022-04-15 | 2022-04-16 | Oaonui | 2 | Support well start up issues
2022-04-03 | 2022-04-04 | Tikorangi 3 | 2.5 | Support system issue with daylight saving
2022-04-03 | 2022-04-04 | Ngatimaru Rd (Delivery) | 2 | Support plant control issues
2022-04-03 | 2022-04-04 | Faull Road | 1.5 | Support plant control issues
2022-03-31 | 2022-04-01 | Oaonui | 3 | Support well start up
2022-03-28 | 2022-03-29 | Oaonui | 3 | To support operational issues
2022-03-27 | 2022-03-28 | Tikorangi 3 | 3 | Support wells returning to service from planned maintenance
2022-03-23 | 2022-03-25 | Oaonui | 8 | Support unplanned outage 23/03/2022
2022-03-17 | 2022-03-18 | Oaonui | 3 | Support well start up issues
2022-03-15 | 2022-03-16 | Oaonui | 5 | Support well start up issues
2022-03-07 | 2022-03-08 | Oaonui | 2.5 | Support unplanned well start up issues
2022-03-02 | 2022-03-03 | Oaonui | 3.5 | To support operational issues
2022-02-16 | 2022-02-17 | Oaonui | 3 | Support unplanned well shutdown
2022-02-14 | 2022-02-15 | Ngatimaru Road (Receipt) | 4 | To support well issues
2022-02-13 | 2022-02-14 | Tikorangi 2 | 2 | To support unplanned outage & restart
2022-02-13 | 2022-02-14 | Oaonui | 2 | To support operational issues
2022-02-13 | 2022-02-14 | Ngatimaru Road (Receipt) | 4 | To support unplanned outage & restart
2022-02-11 | 2022-02-12 | Oaonui | 3.5 | To support operational issues
2022-02-11 | 2022-02-12 | Tikorangi 3 | 2 | Support for unit trip at MMP
2022-02-10 | 2022-02-11 | Oaonui | 6.2 | To support operational issues
2022-02-04 | 2022-02-05 | Tikorangi 3 | 3 | Support for well startup issues
2022-02-03 | 2022-02-04 | Oaonui | 1.2 | To support balancing activities after Pohokura outage
2022-02-02 | 2022-02-06 | Ngatimaru Road (Receipt) | 15 | To support unplanned site outage after ESD day
2022-02-02 | 2022-02-03 | Tikorangi 2 | 6 | To support unplanned site outage after ESD day
2022-02-01 | 2022-02-02 | Ngatimaru Road (Receipt) | 18 | To support site outage
2022-02-01 | 2022-01-02 | Tikorangi 2 | 6 | To support site outage
2022-01-27 | 2022-01-30 | Ngatimaru Road (Receipt) | 6 | To support upcoming site ESD day
2022-01-27 | 2022-01-30 | Oaonui | 6 | To support upcoming site ESD day
2022-01-26 | 2022-01-27 | Frankley Road | 13 | To support Maui Pipeline ATS
2022-01-25 | 2022-01-26 | Pokuru | 7.5 | To support Maui Pipeline ATS
2022-01-19 | 2022-01-20 | TRS (Receipt) | 1 | Support administration issue 19/01/2022
2022-01-06 | 2022-01-07 | Tikorangi 3 | 1 | Support issues choking 06/01/22
2021-12-07 | 2021-12-08 | Tikorangi 3 | 5 | Support for compressor issues 07/12/2021
2021-12-05 | 2021-12-06 | Ngatimaru Rd (Delivery) | 3 | Support plant startup 05/12/2021
2021-12-02 | 2021-12-03 | Oaonui | 4.5 | Support wells returning to service from outage 30/11/2021
2021-12-01 | 2021-12-02 | Oaonui | 5.5 | Support well startup from unplanned outage 30/11/2021
2021-11-30 | 2021-12-01 | Oaonui | 8.1 | Support unplanned outage 30/11/2021
2021-11-30 | 2021-12-01 | Ngatimaru Rd (Delivery) | 3 | Support controlled reduction in rates following curtailment 30/11/2021
2021-11-29 | 2021-11-30 | Oaonui | 6 | Support unplanned outage and plant restart 29/11/2021
2021-11-19 | 2021-11-20 | Ngatimaru Rd (Receipt) | 1.5 | Support well maintenance/restart
2021-11-18 | 2021-11-19 | Oaonui | 2.5 | Support well maintenance/restart
2021-11-18 | 2021-11-19 | Ngatimaru Rd (Receipt) | 3.5 | Support well maintenance/restart
2021-11-11 | 2021-11-12 | Tikorangi 3 | 5 | Support plant restart and compressor outage 11/11/2021
2021-11-11 | 2021-11-12 | Ngatimaru Rd (Delivery) | 5 | Support operational issues after Maui gas clean up 11/11/21
2021-11-07 | 2021-11-08 | Oaonui | 1.3 | Support unplanned outage and plant restart 07/11/2021
2021-11-02 | 2021-11-03 | Tikorangi 3 | 7 | Support operational issue after power outage at M&M 2/11/2021
2021-11-02 | 2021-11-03 | Ngatimaru Rd (Receipt) | 3 | Support Pohokura well maintenance 2/11/2021
2021-10-31 | 2021-11-01 | Oaonui | 1.7 | Support operational issue with well startup 31/10/2021
2021-10-26 | 2021-10-27 | Ngatimaru Rd (Receipt) | 2.5 | Support Pohokura well maintenance/restart operation 26/10/2021
2021-10-26 | 2021-10-27 | Tikorangi 2 | 2 | Support Pohokura well maintenance/restart operation 26/10/2021
2021-10-14 | 2021-10-15 | Ngatimaru Rd (Receipt) | 2.5 | Support operational issue with well startup 14/10/2021
2021-10-08 | 2021-10-08 | Tikorangi 3 | 4.4 | Support well maintenance operation 08/10/2021
2021-10-04 | 2021-10-05 | Ngatimaru Rd (Receipt) | -2 | Support well maintenance operation 04/10/2021
2021-10-03 | 2021-10-04 | Ngatimaru Rd (Receipt) | 1.5 | Support well startup operation 03/10/2021
2021-10-02 | 2021-10-03 | Oaonui | 4 | Support unplanned outage and plant restart 02/10/2021
2021-10-02 | 2021-10-03 | Faull Road | 2 | Support unplanned outage of supplier 02/10/2021
2021-10-01 | 2021-10-02 | Ngatimaru Rd (Receipt) | 2.5 | Support well maintenance operation 01/10/2021

## Gas Year 2023
BGIX | Balancing Gas Information Exchange
Temporary ROIL Multiplier increases
Refer sections 4.4, 12.18 of the MPOC
Period (start) | Period (end) | Welded Point(s) | Value | Reason
2023-09-27 | 2023-09-28 | Oaonui | 4 | Support for plant startup
2023-09-26 | 2023-09-27 | Oaonui | 7 | Support for plant startup
2023-09-25 | 2023-09-26 | Tikorangi 3 | 3 | Support operational issues
2023-09-25 | 2023-09-26 | Oaonui | -5 | Support heading into planned outage
2023-09-19 | 2023-09-20 | Faull Road | 2 | Support for operational issues
2023-09-15 | 2023-09-16 | Faull Road | 2 | Support for plant startup
2023-09-15 | 2023-09-16 | Ngatimaru Road (Delivery) | 3.5 | Support for plant startup
2023-09-14 | 2023-09-15 | Ngatimaru Road (Delivery) | 6 | Support for plant startup
2023-09-07 | 2023-09-08 | Ngatimaru Road (Delivery) | 5.5 | Support operational issues
2023-09-07 | 2023-09-08 | Oaonui | 11 | Support operational issues
2023-09-07 | 2023-09-08 | Tikorangi 3 | 15 | Support operational issues
2023-09-07 | 2023-09-08 | Frankley Road | 13 | Support operational issues
2023-08-24 | 2023-08-25 | Oaonui | -4 | Support for operational issues with platform trip
2023-08-17 | 2023-08-18 | Oaonui | 9 | Support for restart
2023-08-15 | 2023-08-18 | Oaonui | 3 | Support for planned outage
2023-08-14 | 2023-08-15 | Tikorangi 3 | 2 | Support for operational issues
2023-08-03 | 2023-04-08 | Tikorangi 3 | 3.5 | Support for operational issues
2023-07-27 | 2023-07-28 | Ngatimaru Road (Delivery) | 2.1 | Support for operational issues
2023-07-26 | 2023-07-27 | Oaonui | 5 | Support for unplanned outage
2023-07-18 | 2023-07-19 | Tikorangi 2 | 1.1 | Support overproduction issue
2023-07-09 | 2023-07-10 | Turangi Mixing Station | 1.1 | Support for OATIS data Issue
2023-07-08 | 2023-07-09 | Oaonui | 2 | Support for operational issues
2023-07-05 | 2023-07-06 | Tikorangi 3 | 2 | Support for operational issues
2023-07-04 | 2023-07-05 | Frankley Road | 2.5 | Following request from shipper due to operational issue on GTC system
2023-07-01 | 2023-07-02 | Ngatimaru Road (Receipt) | 5 | Support for operational Issues
2023-06-23 | 2023-06-24 | Ngatimaru Road (Receipt) | 1.1 | Support for operational Issues
2023-06-23 | 2023-06-24 | Oaonui | 2.1 | Support for operational issues
2023-06-16 | 2023-06-17 | Frankley Road | 11 | Following request from shipper due to operational issue on GTC system
2023-06-16 | 2023-06-17 | Oaonui | 2 | Support for operational issues
2023-06-15 | 2023-06-16 | Frankley Road | 11 | Following request from shipper due to operational issue on GTC system
2023-06-15 | 2023-06-16 | Ngatimaru Road (Delivery) | 1.5 | Support for operational issues
2023-06-15 | 2023-06-16 | Oaonui | 2 | Support for operational issues
2023-06-14 | 2023-06-15 | Oaonui | 3 | Support for operational issues
2023-05-30 | 2023-05-30 | Oaonui | 2 | Support for operational issues
2023-05-23 | 2023-05-24 | Ngatimaru Road (Receipt) | 2.5 | Support for operational Issues
2023-05-22 | 2023-05-23 | Oaonui | 5 | Support for operational issues
2023-05-22 | 2023-05-23 | Ngatimaru Road (Receipt) | 1.5 | Support for operational Issues
2023-05-20 | 2023-05-21 | Tikorangi 3 | 3.1 | Support for operational issues
2023-05-19 | 2023-05-20 | Mokau Compressor Station | 1.3 | Support in preparation for maintenance
2023-05-18 | 2023-05-19 | Frankley Road | 13 | Support for operational issues on GTC system
2023-05-08 | 2023-05-09 | Ngatimaru Road (Receipt) | 5 | Support for FM at customer
2023-05-08 | 2023-05-09 | Frankley Road | 5 | Support for operational issues on GTC system
2023-05-05 | 2023-05-08 | Frankley Road | 3 | Support for operational issues on GTC system
2023-05-05 | 2023-05-09 | Huntly Power Station | 22 | Support for imbalance accumulated during GTC system emergenecy
2023-05-02 | 2023-05-03 | Frankley Road | 2 | Support for operational issues on GTC system
2023-05-02 | 2023-05-03 | Turangi Mixing Station | 1.6 | Support for operational issues
2023-05-02 | 2023-05-03 | Frankley Road | 5 | Support for operational issues on GTC system
2023-04-27 | 2023-04-29 | Turangi Mixing Station | 9 | Support for plant restart and ongoing issues
2023-04-26 | 2023-04-27 | Ngatimaru Road (Receipt) | 3 | Support for well work later in evening
2023-04-25 | 2023-04-26 | Ngatimaru Road (Receipt) | 6 | Support for well work spanning multiple days
2023-04-22 | 2023-04-23 | Ngatimaru Road (Receipt) | 1.1 | Support for operational issues
2023-04-19 | 2023-04-20 | Ngatimaru Road (Delivery) | 2.5 | Support for operational issues
2023-04-19 | 2023-04-20 | Turangi Mixing Station | 1.3 | Support for communication issue
2023-04-18 | 2023-04-19 | Ngatimaru Road (Delivery) | 2 | Support for operational issues
2023-04-18 | 2023-04-19 | Faull Road | 2 | Support for operational issues
2023-04-17 | 2023-04-18 | Ngatimaru Road (Delivery) | 1.5 | Support for operational issues
2023-04-17 | 2023-04-18 | Faull Road | 1.5 | Support for operational issues
2023-04-11 | 2023-04-12 | Ngatimaru Road (Receipt) | 2 | Support for late work
2023-03-30 | 2023-03-31 | Frankley Road | 3.5 | Following request from shipper due to operational issue on GTC system
2023-03-28 | 2023-03-29 | Pirongia | 2 | Support for unexpected rate increase
2023-03-27 | 2023-03-28 | Faull Road | 2.2 | Support for operational issues
2023-03-22 | 2023-03-23 | Tikorangi 3 | 8 | Support for operational issues and pigging
2023-03-21 | 2023-03-22 | Ngatimaru Road (Delivery) | 2 | Support for metering issue
2023-03-20 | 2023-03-21 | Oaonui | 4 | Support for well shut start up
2023-03-19 | 2023-03-20 | Faull Road | 2 | Support for Oaonui well outage
2023-03-19 | 2023-03-20 | Ngatimaru Road (Delivery) | 2 | Support for Oaonui well outage
2023-03-19 | 2023-03-20 | Ngatimaru Road (Receipt) | 2 | Support for Oaonui well outage
2023-03-19 | 2023-03-20 | Oaonui | 6 | Support for well shut down
2023-03-18 | 2023-03-19 | Ngatimaru Road (Receipt) | 7 | Support for Oaonui well outage
2023-03-18 | 2023-03-19 | Oaonui | 11 | Support for well shut down
2023-03-17 | 2023-03-18 | Oaonui | 2.5 | Support for well start up
2023-03-16 | 2023-03-17 | Oaonui | 2.2 | Support for well start up
2023-03-14 | 2023-03-15 | Frankley Road | 5 | Support for customer during Kapuni trip / restart
2023-03-12 | 2023-03-13 | Faull Road | 2 | Support for operational issues
2023-03-09 | 2023-03-10 | Tikorangi 3 | 3 | Support for well start up
2023-03-08 | 2023-03-09 | Ngatimaru Road (Receipt) | 4 | Support for well restarts
2023-03-07 | 2023-03-08 | Ngatimaru Road (Receipt) | 4 | Support for plant restart
2023-03-07 | 2023-03-08 | Tikorangi 2 | 4 | Support for plant restart
2023-03-07 | 2023-03-08 | Faull Road | 1.5 | Support for FM at supplier
2023-03-07 | 2023-03-08 | Ngatimaru Road (Delivery) | 3 | Support for FM at supplier
2023-03-07 | 2023-03-08 | Oaonui | 12 | Support for well start up
2023-03-06 | 2023-03-07 | Ngatimaru Road (Receipt) | 1.5 | Support for plant shut down
2023-03-06 | 2023-03-07 | Bertrand Rd | 1.5 | Support for FM at supplier
2023-03-06 | 2023-03-07 | Faull Road | 4 | Support for FM at supplier
2023-03-06 | 2023-03-07 | Ngatimaru Road (Delivery) | 3 | Support for FM at supplier
2023-03-06 | 2023-03-07 | Oaonui | 12 | Support for well start up
2023-03-06 | 2023-03-07 | Oaonui | 5 | Support late shut in and late start up
2023-03-05 | 2023-03-06 | Oaonui | 8 | Support late shut in
2023-02-26 | 2023-03-27 | Frankley Road | 4 | Support from customer during Kapuni outage / data loss
2023-02-24 | 2023-02-25 | Oaonui | 3 | Support for restart after plant trip
2023-02-22 | 2023-02-23 | Mangorei | 3 | Customer Administration error relief
2023-02-14 | 2023-02-15 | Tikorangi 3 | 2 | Support for well start up
2023-02-13 | 2023-02-14 | Frankley Road | 12 | Following request from shipper due to operational issue on GTC system
2023-02-06 | 2023-02-07 | Tikorangi 3 | 4 | Support for well start up
2023-02-02 | 2023-02-03 | Frankley Road | 4.5 | Support for operational issues and pigging
2023-02-01 | 2023-02-02 | Turangi Mixing Station | 2.5 | Support for IT Issues
2023-01-29 | 2023-01-30 | Ngatimaru Road (Receipt) | 1.1 | Offsetting Maui field operations
2023-01-29 | 2023-01-30 | Oaonui | 1.1 | Support for Maui field operations
2023-01-29 | 2023-01-30 | Tikorangi 3 | 2 | Support for well start up
2023-01-29 | 2023-01-30 | Turangi Mixing Station | 2 | Support for Operational issues
2023-01-28 | 2023-01-29 | Tikorangi 3 | 5 | Support for delayed well outage
2023-01-27 | 2023-01-28 | Mangorei | 3 | Support for Operational issues
2023-01-27 | 2023-01-28 | Tikorangi 3 | 5 | Support for Operational issues
2023-01-27 | 2023-01-28 | Oaonui | 2.5 | Support for delayed well start up
2023-01-26 | 2023-01-27 | Tikorangi 3 | 2 | Support for well start up at new drilling site
2023-01-25 | 2023-01-26 | Oaonui | 5 | Support for Operational issues during planned outage
2023-01-20 | 2023-01-21 | Tikorangi 3 | 2 | Support for plant trip
2023-01-20 | 2023-01-21 | Oaonui | 4 | Support for Operational issues during well start up
2023-01-19 | 2023-01-20 | Tikorangi 3 | 8 | Support for plant trip
2023-01-17 | 2023-01-18 | Oaonui | 2 | Support for Operational issues
2023-01-17 | 2023-01-18 | Tikorangi 3 | 2 | Support for plant trip
2023-01-15 | 2023-01-16 | Oaonui | 4.5 | Support for delayed well start up
2023-01-15 | 2023-01-16 | Pirongia | 2 | Support for plant shut down
2023-01-06 | 2023-01-07 | Tikorangi 2 | 1.2 | Support for operational issue
2023-01-05 | 2023-01-06 | Oaonui | 2 | Support for well startup
2022-12-28 | 2022-12-29 | Frankley Road | 1.5 | Following request from shipper due to operational issue on GTC system
2022-12-20 | 2022-12-21 | Faull Road | 2 | Support with plant issues
2022-12-15 | 2022-12-16 | Oaonui | 3 | Support for plant trip TX day 15/12
2022-12-14 | 2022-12-15 | Oaonui | 2 | Support for operational issues and pigging
2022-12-14 | 2022-12-15 | Ngatimaru Road (Receipt) | 2 | Support for operational issues and pigging
2022-12-11 | 2022-12-12 | Faull Road | 2 | Support for FM at supplier
2022-12-10 | 2022-12-11 | Faull Road | 2 | Support for FM at supplier
2022-12-10 | 2022-12-11 | Oaonui | 3 | Support for well outages
2022-11-27 | 2022-11-28 | Oaonui | 3 | Support for restricted flow due to pipeline pressure
2022-11-27 | 2022-11-28 | Ngatimaru Road (Delivery) | 2 | Support with plant maintenance
2022-11-27 | 2022-11-28 | Faull Road | 2 | Support with plant maintenance
2022-11-22 | 2022-11-23 | Oaonui | 4 | Support for well outages
2022-11-14 | 2022-11-15 | Turangi Mixing Station | 0.3 | Support with communication issues
2022-11-14 | 2022-11-15 | Ngatimaru Road (Delivery) | 0.5 | Support with plant start up
2022-11-12 | 2022-11-13 | Bertrand Rd | 1.5 | Support with Distillation restart
2022-11-05 | 2022-11-06 | Ngatimaru Road (Delivery) | 1.4 | Support with plant shut down
2022-11-05 | 2022-11-06 | Faull Road | 2.8 | Support with plant shut down
2022-11-02 | 2022-11-03 | Ngatimaru Road (Receipt) | 4 | In balance with OAO due to nomination issues
2022-11-02 | 2022-11-03 | Oaonui | 4 | In balance with NMRR due to nomination issues
2022-11-02 | 2022-11-03 | Ngatimaru Road (Delivery) | 4 | In balance with HPS due to deemed flow issues
2022-11-02 | 2022-11-03 | Huntly Power Station | 4 | In balance with NMRD due to deemed flow issues
2022-11-01 | 2022-11-02 | Oaonui | 1.5 | Support for issue with wells restart
2022-10-30 | 2022-10-31 | Oaonui | 4 | Support for issue with wells restart
2022-10-27 | 2022-10-28 | Tikorangi 3 | 3 | Support for operational issue
2022-10-25 | 2022-10-26 | Oaonui | 2 | Support for issue with wells restart
2022-10-22 | 2022-10-23 | Tikorangi 3 | 3 | Support for issue with wells restarting after maintenance
2022-10-22 | 2022-10-23 | Oaonui | 2.5 | Support for issue with wells restarting after heavy lift
2022-10-21 | 2022-10-22 | Oaonui | 2 | Support for issue with wells restarting
2022-10-20 | 2022-10-21 | Oaonui | 4 | Support for issue with a well restart
2022-10-18 | 2022-10-19 | Oaonui | 2 | Support for issue with wells stabilising
2022-10-15 | 2022-10-16 | Oaonui | 3 | Support for issue with a well shut in
2022-10-13 | 2022-10-14 | Oaonui | 4 | Support for issue with a well shut in
2022-10-09 | 2022-10-10 | Tikorangi 3 | 6 | Support for site trip
2022-10-08 | 2022-10-09 | Frankley Road | 9.5 | Following request from shipper due to operational issue on GTC system
2022-10-04 | 2022-10-05 | Turangi Mixing Station | 1.1 | Support operational issue

## Gas Year 2024
BGIX | Balancing Gas Information Exchange
Temporary ROIL Multiplier increases
Refer sections 4.4, 12.18 of the MPOC
Period (start) | Period (end) | Welded Point(s) | Value | Reason
2024-09-23 | 2024-09-24 | Oaonui | 8 | Following request from shipper due to plant issue on GTC system
2024-09-23 | 2024-09-24 | Frankley Road | 16 | Following request from shipper due to plant issue on GTC system
2024-09-17 | 2024-09-18 | Huntly Power Station | 7.5 | Following request from shipper due to plant issue on GTC system
2024-09-17 | 2024-09-18 | Frankley Road | 10.5 | Following request from shipper due to plant issue on GTC system
2024-09-15 | 2024-09-16 | Ngatimaru Road (Receipt) | 2 | Support administration issues
2024-09-12 | 2024-09-13 | Oaonui | 2.5 | Support operational issues
2024-09-06 | 2024-09-07 | Tikorangi 3 | 1.5 | Support operational issues
2024-09-01 | 2024-09-02 | Ngatimaru Road (Receipt) | 1.5 | Support for ROI change after metering correction
2024-08-31 | 2024-09-01 | Rotowaro | 3 | Support for OATIS data Issue
2024-08-31 | 2024-09-01 | Frankley Road | 3 | Support for OATIS data Issue
2024-08-31 | 2024-09-01 | Pokuru | 3 | Support for OATIS data Issue
2024-08-29 | 2024-08-30 | Tikorangi 3 | 8 | Support for plant trip
2024-08-29 | 2024-08-30 | Frankley Road | 7 | Support for balancing pipeline
2024-08-28 | 2024-08-29 | Pokuru | 2 | Support for OATIS data Issue
2024-08-12 | 2024-08-13 | Frankley Road | 4.5 | Following request from shipper due to plant issue on GTC system
2024-08-11 | 2024-08-12 | Ngatimaru Road (Receipt) | 1.5 | Support for operational issues
2024-08-01 | 2024-08-02 | Frankley Road | 2.5 | Support operational issues after customer trip
2024-07-14 | 2024-07-15 | Tikorangi 3 | 5 | Support operational issues
2024-07-04 | 2024-07-05 | Frankley Road | 2 | Following request from shipper due to plant issue on GTC system
2024-06-30 | 2024-07-01 | Oaonui | 2 | Support operational issues
2024-06-25 | 2024-06-26 | Faull Road | 1.5 | Support operational issues
2024-06-19 | 2024-06-20 | Oaonui | 1.8 | Support operational issues
2024-06-19 | 2024-06-20 | Faull Road | 1.1 | Support for OPN
2024-06-09 | 2024-06-10 | Pokuru | 6 | Support for OATIS data Issue
2024-06-09 | 2024-06-10 | Rotowaro | 1.3 | Support for OATIS data Issue
2024-06-09 | 2024-06-10 | Frankley Road | 5 | Support for OATIS data Issue
2024-06-09 | 2024-06-10 | Oaonui | 1.2 | Support for OATIS data Issue
2024-06-09 | 2024-06-10 | Huntly Power Station | 1.1 | Support for OATIS data Issue
2024-06-04 | 2024-06-05 | Oaonui | 1.2 | Support for operational issues
2024-06-03 | 2024-06-04 | Huntly Power Station | 6 | Administration issue
2024-06-03 | 2024-06-04 | Turangi Mixing Station | 1.3 | Support for operational issues
2024-06-01 | 2024-06-02 | Faull Road | 1.1 | Support for operational issues
2024-05-30 | 2024-05-31 | Turangi Mixing Station | 1.3 | Support for operational issues
2024-06-26 | 2024-07-27 | Tikorangi 2 | 2.5 | Support for operational issues
2024-05-26 | 2024-05-27 | Ngatimaru Road (Receipt) | 2 | Support for operational issues
2024-05-25 | 2024-05-26 | Turangi Mixing Station | 1.2 | Support for operational issues
2024-05-20 | 2024-05-21 | Mangorei | 1.1 | Support for operational issues
2024-05-04 | 2024-05-05 | Oaonui | 1.5 | Support for well restart
2024-04-23 | 2024-04-24 | Pirongia | 1.5 | Support for ROI change after metering correction
2024-04-12 | 2024-04-13 | Oaonui | 3 | Support for operational issues
2024-04-12 | 2024-04-13 | Ngatimaru Road (Receipt) | 3 | Support for operational issues
2024-04-11 | 2024-04-12 | Faull Road | -3 | Support for balancing during pigging
2024-04-11 | 2024-04-12 | Ngatimaru Road (Delivery) | 2 | Support for balancing during pigging
2024-04-10 | 2024-04-11 | Faull Road | 2 | Support for balancing during pigging
2024-04-10 | 2024-04-11 | Ngatimaru Road (Delivery) | -2 | Support for balancing during pigging
2024-04-08 | 2024-04-09 | Ngatimaru Road (Delivery) | 1.5 | Support for operational issues
2024-04-08 | 2024-04-09 | Huntly Power Station | 12 | Following request from shipper due to plant issue on GTC system
2024-04-08 | 2024-04-09 | Frankley Road | 5 | Following request from shipper due to plant issue on GTC system
2024-04-03 | 2024-04-08 | Tikorangi 2 | 2 | Support for ROI change after metering correction
2024-04-07 | 2024-04-08 | Faull Road | 2.1 | Support opperational issues
2024-03-27 | 2024-03-27 | Ngatimaru Road (Receipt) | 7.5 | Support start up issues
2024-03-27 | 2024-03-27 | Oaonui | 8 | Support start up issues
2024-03-27 | 2024-03-27 | Tikorangi 3 | 1.3 | Support for plant trip
2024-03-27 | 2024-03-27 | Tikorangi 2 | 1.7 | Support for plant trip
2024-03-26 | 2024-03-27 | Oaonui | 3.5 | Support for OPN
2024-03-25 | 2024-03-26 | Kowhai Mixing Station | 1.7 | Support opperational issues
2024-03-25 | 2024-03-26 | Oaonui | 1.3 | Support for operational issues
2024-03-23 | 2024-03-24 | Faull Road | 1.2 | Support for communications outage to site
2024-03-23 | 2024-03-24 | Tikorangi 3 | 1.1 | Support for operational issue
2024-03-22 | 2024-03-23 | Frankley Road | 5 | Following request from shipper due to plant issue on GTC system
2024-03-22 | 2024-03-23 | Huntly Power Station | 1.1 | Following request from shipper due to plant issue on GTC system
2024-03-21 | 2024-03-22 | Frankley Road | 19 | Following request from shipper due to plant issue on GTC system
2024-03-21 | 2024-03-22 | Huntly Power Station | 2 | Following request from shipper due to plant issue on GTC system
2024-03-17 | 2024-03-18 | Oaonui | 4.5 | Support for plant trip
2024-02-27 | 2024-02-28 | Huntly Power Station | 3 | Following request from shipper due to plant issue on GTC system
2024-02-27 | 2024-02-28 | Ngatimaru Road (Receipt) | 3 | Support for well restart
2024-02-19 | 2024-02-20 | Ngatimaru Road (Delivery) | 2.5 | Support for operational issues
2024-02-19 | 2024-02-20 | Faull Road | 2.5 | Support for operational issues
2024-02-15 | 2024-02-16 | Oaonui | 2.1 | Support for operational issues
2024-02-14 | 2024-02-15 | Turangi Mixing Station | 1.5 | Support for operational issues
2024-02-14 | 2024-02-15 | Oaonui | 3 | Support for operational issues
2024-02-13 | 2024-02-14 | Oaonui | 4 | Support for operational issues
2024-02-11 | 2024-02-12 | Oaonui | 3 | Support for plant trip
2024-02-05 | 2024-02-06 | Tikorangi 3 | 4 | As per agreed OPN for outage on 6th Feb
2024-01-30 | 2024-01-31 | Oaonui | 5 | Support for plant trip
2024-01-24 | 2024-01-25 | Frankley Road | 10 | Support Production Station trip
2024-01-21 | 2024-01-22 | Ngatimaru Road (Delivery) | 3.5 | Following request from producer after plant trip
2024-01-21 | 2024-01-22 | Oaonui | 11 | Support for plant trip
2024-01-19 | 2024-01-20 | Turangi Mixing Station | 2 | Support for operational issues
2024-01-15 | 2024-01-16 | Frankley Road | 4 | Support for OATIS data Issue
2024-01-13 | 2024-01-14 | Ngatimaru Road (Receipt) | 1.2 | Support bringing down well
2024-01-13 | 2024-01-14 | Oaonui | 1.4 | Support bringing down well
2024-01-13 | 2024-01-14 | Frankley Road | 7 | Support operational issues after customer trip
2024-01-12 | 2024-01-13 | Huntly Power Station | 3 | Support operational issues after customer trip
2024-01-12 | 2024-01-13 | Frankley Road | 5 | Support operational issues after customer trip
2024-01-04 | 2024-01-05 | Kowhai Mixing Station | 1.1 | Following request from shipper due to 3rd party nomination error
2024-01-02 | 2024-01-03 | Frankley Road | 4 | Following request from shipper due to plant issue
2023-12-30 | 2023-12-31 | Frankley Road | 5 | Following request from shipper due to operational issue on GTC system
2023-12-24 | 2023-12-25 | Huntly Power Station | 1.5 | Following request from shipper due to plant issue on GTC system
2023-12-20 | 2023-12-21 | Oaonui | 4 | Support operational issues
2023-12-11 | 2023-12-12 | Faull Road | 2.5 | Support IT system issues
2023-12-10 | 2023-12-11 | Ngatimaru Road (Receipt) | 1.1 | Support operational issues
2023-12-09 | 2023-12-10 | Turangi Mixing Station | 2 | Support for operational issues
2023-12-04 | 2023-12-05 | Ngatimaru Road (Receipt) | 1.1 | Support operational issues
2023-12-04 | 2023-12-05 | Frankley Road | 9 | Following request from shipper due to plant issue on GTC system
2023-12-04 | 2023-12-05 | Huntly Power Station | 8 | Following request from shipper due to plant issue on GTC system
2023-11-22 | 2023-11-23 | Faull Road | 2.5 | Support operational issues
2023-11-22 | 2023-11-23 | Ngatimaru Road (Delivery) | 1.1 | Support operational issues
22/11/202 | 2023-11-23 | Tikorangi 3 | 3 | Support operational issues
2023-11-21 | 2023-11-22 | Ngatimaru Road (Receipt) | 1.2 | Support operational issues after customer trip
2023-11-21 | 2023-11-22 | Oaonui | 3 | Support operational issues after customer trip
2023-11-21 | 2023-11-22 | Tikorangi 3 | 3 | Support operational issues after customer trip
2023-11-21 | 2023-11-22 | Frankley Road | 2 | Support operational issues after customer trip
2023-10-31 | 2023-11-01 | Turangi Mixing Station | 1.9 | Support for operational issues
2023-10-31 | 2023-11-01 | Ngatimaru Road (Receipt) | 1.4 | Support for operational issues
2023-10-31 | 2023-11-02 | Frankley Road | 13 | Following request from shipper due to plant outage on GTC system
2023-10-28 | 2023-10-29 | Kowhai Mixing Station | 1.5 | Support for operational issues
2023-10-25 | 2023-10-26 | Frankley Road | 6 | Following request from shipper due to plant outage on GTC system
2023-10-25 | 2023-10-26 | Tikorangi 3 | 10 | Following request from shipper due to plant outage on GTC system
2023-10-23 | 2023-10-24 | Tikorangi 3 | 3.5 | Following request from shipper due to plant outage on GTC system
2023-10-18 | 2023-10-19 | Oaonui | 2.5 | Support for operational issues
2023-10-17 | 2023-10-18 | Oaonui | 1.5 | Support for operational issues
2023-10-17 | 2023-10-18 | Ngatimaru Road (Receipt) | 3 | Support for operational issues
2023-10-16 | 2023-10-17 | Ngatimaru Road (Receipt) | 3 | Support for operational issues
2023-10-02 | 2023-10-03 | Ngatimaru Road (Delivery) | 1.2 | Support for operational issues
2023-10-01 | 2023-10-02 | Faull Road | 2.5 | Support for operational issues
2023-10-01 | 2023-10-02 | Tikorangi 3 | 2 | Support for plant trip
Formulas:
Period (end) = [Period (start)]+1